## protease assay
660nm | Test blank | Test1 | Test2 | Test3
| 2024-08-15 17:51 | 2024-08-15 17:51 | 2024-08-15 17:51 | 2024-08-15 17:51
Time (minutes) | Absorbance | Absorbance | Absorbance | Absorbance
0 | 0.095025 | 0.34 | 0.337 | 0.397
0.51 | 0.095898 | 0.34 | 0.337 | 0.387
1.01 | 0.096102 | 0.341 | 0.335 | 0.375
Average | 0.095675 | 0.34033 | 0.33633 | 0.38633
0.35433
Used 1 mg/mL
1. Activity can be calculated by using the following formula：
● Volume activity (units/mL) for casein solution (pH 7.5) =
Where; |  |  |  |  | 0.40 – 0.10 × 6.7 × 1 ÷ 1.34 × 1.0 × 10 min. × 0.5 mL = 7.5 units/mL
Vt ：Total volume (6.7 mL)
Vs ：Sample volume (0.5 mL) |  |  |  |  | 7.5 | Units/mL
1.34 ：Millimolar extinction coefficient of tyrosine (F/micromole)
1.0 ：Light path length (cm)
t ：Reaction time (10 minutes)
df ：Dilution factor
C ：Enzyme concentration in dissolution (c mg/mL)
2. Weight activity (U/mg) ＝ (U/mL) ×1/C
● Weight activity (units/mg) for Casein solution = 7.5 u/mL * 1/1 mg/mL = 7.5 units/mg of enzyme used.
REFERENCE:
1 | Mayerhofer H, Marshall R, White C, Lu M. (1973). Characterization of a heat-stable protease of Pseudomonas fluorescens P26. Applied microbiology; 25:44±8. PMID: 4631436.
2 | Rais A, Jabeen Z, Shair F, Hafeez FY,Hassan MN (2017) Bacillus spp., a bio-control agent enhances the activity of antioxidant defense enzymes in rice against Pyricularia oryzae. PLoS ONE 12(11): e0187412. https://doi.org/10.1371/ journal.pone.0187412
3 | Cupp-Enyard C. Sigma's Non-specific Protease Activity Assay - Casein as a Substrate. J Vis Exp. 2008 Sep 17;(19):899. doi: 10.3791/899. PMID: 19066538; PMCID: PMC2872977.
Determination of Protease Activity:
https://www.sigmaaldrich.com/US/en/technical-documents/protocol/protein-biology/enzyme-activity-assays/assay-procedure-for-protease
Reaction Hypothesis: Proteases catalyze hydrolysis of the peptide bond and therefore break proteins into small fragments. In this assay, the substrate casein is hydrolyzed to release tyrosine and tryptophan.
In addition, the hydrolyzed substrate could further react with Folin’s reagent to produce chromophores giving a blue color. The color can be measured by a spectrophotometer to quantify the amount of casein that is hydrolyzed, using a standard curve to correlate the intensity of the color with the amount of tyrosine and further with the protease activity.
Activity unit definition
The protease activity is indicated in activity unites (U). One activity unit is defined as the amount of enzyme that is required to hydrolyze casein to give 1 μg of tyrosine in 1 min at basic pH and temperature at 30 ℃.
The appearance of peptides is measured as tyrosine equivalent at 275 nm by spectrophotometry.